GC Number 1 (NHB 1.102)



|  |  |  |
| --- | --- | --- |
| Peak  | Solvent  | Retention Time (min)  |
| 1  | Acetone  | 0.509  |
| 2  | Hexane  | 0.542  |
| 3  | Cyclohexane  | 0.579  |
| 4  | Heptane  | 0.602  |
| 5  | Toluene  | 0.671  |
| 6  | Ethyl Benzene  | 0.847  |

GC Number 2 (NHB 1.116)



|  |  |  |
| --- | --- | --- |
| Peak  | Solvent  | Retention Time (min)  |
| 1  | Acetone  | 0.701  |
| 2  | Hexane  | 0.750  |
| 3  | Cyclohexane  | 0.803  |
| 4  | Heptane  | 0.837  |
| 5  | Toluene  | 0.885  |
| 6  | Ethyl Benzene  | 0.945  |

GC Number 3 (NHB 1.126)



|  |  |  |
| --- | --- | --- |
| Peak  | Solvent  | Retention Time (min)  |
| 1  | Acetone  | 0.719  |
| 2  | Hexane  | 0.751  |
| 3  | Cyclohexane  | 0.786  |
| 4  | Heptane  | 0.808  |
| 5  | Toluene  | 0.862  |
| 6  | Ethyl Benzene  | 0.914  |

GC Number 4 (NHB 1.124)

 

|  |  |  |
| --- | --- | --- |
|  Peak  | Solvent  | Retention Time (min)  |
| 1  | Acetone  | 0.738  |
| 2  | Hexane  | 0.782  |
| 3  | Cyclohexane  | 0.829  |
| 4  | Heptane  | 0.852  |
| 5  | Toluene  | 0.885  |
| 6  | Ethyl Benzene  | 0.935  |

GC Number 5 (NHB 1.118)



|  |  |  |
| --- | --- | --- |
|  Peak  | Solvent  | Retention Time (min)  |
| 1  | Acetone  | 0.734  |
| 2  | Hexane  | 0.793  |
| 3  | Cyclohexane  | 0.852  |
| 4  | Heptane  | 0.872  |
| 5  | Toluene  | 0.907  |
| 6  | Ethyl Benzene  | 0.965  |

GC Number 6 (NHB 1.110)



|  |  |  |
| --- | --- | --- |
|  Peak  | Solvent  | Retention Time (min)  |
| 1  | Acetone  | 0.757  |
| 2  | Hexane  | 0.813  |
| 3  | Cyclohexane  | 0.861  |
| 4  | Heptane  | 0.878  |
| 5  | Toluene  | 0.909  |
| 6  | Ethyl Benzene  | 0.966  |

GC Number 7 (NHB 1.106)

 

|  |  |  |
| --- | --- | --- |
|  Peak  | Solvent  | Retention Time (min)  |
| 1  | Acetone  | 0.807  |
| 2  | Hexane  | 0.861  |
| 3  | Cyclohexane  | 0.886  |
| 4  | Heptane  | 0.899  |
| 5  | Toluene  | 0.927  |
| 6  | Ethyl Benzene  | 0.983  |