Luminol Procedure for Microwave

- Add 0.2 g of 3-nitrophthalic acid to the microwave heating tube containing  0.4 mL of 8% hydrazine, 0.6 mL of triethylene glycol and a rice stirbar.

- Set the microwave to the Luminol program and start the run.

  - 150 W, 215 C, 2 minutes

  - 33 C to 215 C over 3 minutes and hold for 2 minutes at 250 psi.  Cools to 50 C in 4 minutes.

- Skip the addition of water and continue the experiment as in the text.